## Slide 1: NatHERS Whole of Home Overview
Presenter(s): Michael Young
Date: 8 August 2023
DCCEEW.gov.au

## Slide 2
Source: Barramundi, Aboriginal x-ray art. Photo: Jon Connell. Creative Commons BY 2.0 (cropped)

## Slide 3
In this webinar we will cover:
Overview of Whole of Home
Benefits of Whole of Home
Appliances included in Whole of Home
How to find energy efficiency information for appliances
How a Whole of Home Assessment is Conducted
Whole of Home Certificate
How do I improve my Whole of Home Rating?
Questions
Scope

## Slide 4: Disclaimer
This webinar DOES NOT cover any software or tool. Please speak with software developers to learn about the timings for the release of their Whole of Home product and for training in the use of that tool.

## Slide 5: Overview of NatHERS Whole of Home

## Slide 8: Energy Use
Source: https://www.yourhome.gov.au/energy/heating-and-cooling

## Slide 9: Energy Value
Energy value is the net cost to society of energy use, including costs to the building user, the environment and energy networks
It is a measure of the dwelling’s energy performance
Two main factors affect the energy value of any given unit of energy consumed:
  Fuel type
  Time of use

## Slide 10: Energy Value
The lower the energy value of the modelled energy loads in the assessment, the higher the Whole of Home performance rating.

## Slide 11: Reference Dwelling
The performance rating is calculated based on how the assessed dwelling performs compared with a reference dwelling
A score of 50 means that the dwelling design has the same performance as the reference dwelling

## Slide 12: Reference Dwelling
7 Star thermal shell
3 Star ducted heat pump
5 Star
instantaneous
gas hot water
4W/m2 lighting power density
No onsite
energy
production
or storage
No
spa or pool
The reference dwelling has the following characteristics:
Reverse-cycle air-conditioning
For heating and cooling

## Slide 13
Whole of Home software
Assessors must use NatHERS-accredited software to obtain certification of a NatHERS assessment. The four accredited software tools are:
AccuRate
BERS Pro
FirstRate5
Hero
All new assessments are to be undertaken using the latest version of the chosen software unless an exemption is provided by the relevant building authority.
The software must be accredited for a Whole of Home assessment.

## Slide 14: What you can’t change
For Whole of Home this includes:
  The thermal shell elements
  Same thermal shell must be used for the Star Rating and the Whole of Home rating
Can still revisit the thermal shell performance, but a new whole of home simulation will be required for the certificate
Occupant behaviour
Efficiency of general plug loads

## Slide 15: Benefits of Whole of Home

## Slide 16: Benefits of Whole of Home
Consumers
Reduce
energy bills
Reduce
carbon emissions
Improved
thermal
comfort
Achieve
zero energy
(and carbon)
ready home
Design
beyond
minimum
standards
Expanding NatHERS to include Whole of Home helps:
Industry and Consumers

## Slide 17: Benefits of Whole of Home
Support a range of different initiatives, such as the finance sector being able to use NatHERS to underpin their products
Cater for potential future energy efficiency requirements in the National Construction Code

## Slide 18: Benefits of expanding NatHERS
Supports a variety of programs
Delivers harmonised outputs
Allows a choice of tools to be accredited that can suit different users
Uses science and Australian data
Requires assessors use the home energy rating tools in consistent ways
Ensures consistent data
National administrative processes
Delivery by both government and commercial entities
National governance

## Slide 19: Appliances included in Whole of Home

## Slide 21: Heating appliances
Wood heater
Ducted
heat pump
air-conditioner
Electric resistive heater
Ducted
gas heater
The Whole of Home assessment tools will allow selection from the following heating appliances:
Non-ducted
gas heater
(space heater)
Non-ducted
heat pump
air-conditioner
Correct sizing for the dwelling is very important

## Slide 22: Cooling appliances
Ducted
air-conditioner
Evaporative
cooler
The Whole of Home assessment tools will allow selection from the following cooling appliances:
Non-ducted
air-conditioner
No delineation between reverse cycle and cooling-only air-conditioners

## Slide 23: Cooling appliances
The tools allows each cooling appliance to be allocated to one or multiple rooms or zones of the home.
Evaporative coolers can only be selected for use in appropriate NatHERS climate zones​.

## Slide 24: Water heating appliances
Water heating
Kitchen

## Slide 25: Water heating appliances
Whole of Home assessment tools will include the following water heating appliances:
Off-peak electric
PV diverters
Solar thermal
(electric boosted)
Gas
instantaneous
Solar thermal
(gas boosted)
Heat pump
Instantaneous
electric
Gas storage
Continuous
electric
Solid fuel

## Slide 26: Water heating appliances
The choice may also be limited by available energy sources:
Solar access and adequate north facing roof space must be available if a solar hot water system is to be installed.
Natural gas is not available in some areas.

## Slide 27: Lighting
Energy consumption for artificial lighting is calculated automatically by the software - based on the floor area of the building and a standard assumption for lighting efficiency and use.
Assumes that the building complies with any lighting provisions in the construction code.
A NatHERS certificate is not proof that the design has met the minimum lighting provisions in the NCC.
NatHERS tools are not ‘lighting calculators’ and cannot be used to determine lux levels in the building.
A new home or renovation must meet the energy consumption requirements of the NCC.

## Slide 28
Multi & mono crystalline cells
Amorphous silicon & thin film PV
5-9%
12-16%
Onsite Energy Generation and Storage

## Slide 29: Onsite Energy Generation and Storage
A 1.5 kilowatt system would provide about 25% of the electricity needs for a family of four with average energy consumption.
Whole-of-Home assessment tools include solar PV and a battery option based on the Victorian Zero Net Carbon method.
A shading factor is built into the model to account for overshadowing objects:
  no shading,
  medium shading
  high shading

## Slide 30: Onsite Energy Generation and Storage
The assessment requires:
slope of the panels,
the size of the system,
the direction the system faces and,
the time zone to be inputted.

## Slide 31: Swimming Pool and Spas Pumps
Filtration is 70 – 90% of pool electricity use
Pool pumps can also perform other functions:
  running spa jets,
  water features, or
  high-pressure cleaning systems.
Pool volume or surface area is entered into the tool

## Slide 32: Swimming Pool and Spas Pumps
Pool pump options in Whole of Home are:
  Single Speed
  Dual-speed
  Multi-speed
There are three pool cleaning pump options available:
  Pressure Cleaner with Main Filtration Pump
  Pressure Cleaner with Booster Pump
  Robotic system
A standard assumption of pump efficiency is applied.

## Slide 33: Cooking appliances
Cooktop:
  Gas
  Electric
  Induction
Oven:
  Electric
  Gas

## Slide 34: How to find energy efficiency information for appliances

## Slide 35: Appliance energy labels
The Energy Rating Label shows the energy efficiency and energy consumption of rated products allowing comparison of running costs over the life of the product.

## Slide 36: Energy rated appliances

## Slide 37: Energy rated appliances

## Slide 38: Natural gas appliances

## Slide 39: Energy rating
The Equipment Energy Efficiency (E3) Program helps improve the energy-efficiency of a range of appliances and equipment.
By buying more efficient models, households and businesses can:
  consume less energy,
  save money on their energy bills, and
  help to reduce emissions.

## Slide 40: Where to find Appliance Energy Rating
www.energy.gov.au/energy-rating
https://reg.energyrating.gov.au/comparator/product_types/

## Slide 41: How a Whole of Home Assessment is conducted

## Slide 42: NatHERS assessment
The NatHERS Whole of Home assessment builds on the existing NatHERS thermal assessment that is used to verify compliance with the energy efficiency performance requirements of the NCC.
From 1 October 2023, there will be two energy efficiency performance requirements for residential buildings under the NCC:
  the thermal performance and,
  the energy usage performance.
A NatHERS assessment will verify compliance with both of these requirements:
  The thermal assessment and star rating will address thermal performance.
  The Whole of Home performance rating will address energy usage.

## Slide 43
There are other options for demonstrating compliance with the NCC energy efficiency provisions:
an elemental method is also available in the NCC
In New South Wales, the BASIX tool is used in place of the NatHERS Whole of Home
Other options

## Slide 44: The assessment process
1
Access a completed NatHERS thermal rating
2
Identify and collect information and documentation
3
Enter heating and cooling details
4
Enter hot water details
5
Enter lighting details
6
Enter spa and pool details (if applicable)

## Slide 45
7
Enter onsite renewable energy details (if applicable)
8
Enter onsite energy storage details (if applicable)
9
Other notes and considerations
10
Run the Whole of Home calculation
11
Generate the NatHERS certificate and mini-certificate (stamp)
12
Stamp drawings and provide to client with the NatHERS certificate
The assessment process continued

## Slide 46: Whole of Home Certificate

## Slide 52: What should I use PowerPoint for?
Whole of Home Performance Rating

## Slide 53: How do I improve my Whole of Home Rating?

## Slide 54
Go beyond a 7-star thermal shell
Use higher star rating appliances
Select different appliance
Use multiple non-ducted systems instead of single ducted system
Switching between fuels and technologies
Load shifting
Adding solar PV, or re-orienting solar PV to generate more energy during afternoon and evening peaks
Adding batteries
How to improve the Whole of Home Rating

## Slide 55
In this webinar we have covered:
Overview of Whole of Home
Benefits of Whole of Home
Appliances included in Whole of Home
How to find energy efficiency information for appliances
How a Whole of Home Assessment is Conducted
Whole of Home Certificate
How do I improve my Whole of Home Rating?
Summary

## Slide 56
Access and complete the quiz at:
https://transformed-pty-ltd-short-courses.thinkific.com/courses/nathers-whole-of-home-overview
You will need to register and on successful completion you will be sent your certificate.
Complete the Quiz

## Slide 58: Questions?

## Slide 59
Name
Division
Phone: +61 2 XXXX XXXX
John Gorton Building, King Edward Terrace, Parkes ACT 2600 GPO Box 858 Canberra ACT 2601
DCCEEW.gov.au

## Slide 60: Feedback
Send to: info@transformed.com.au
Submit by: 20 Feb 2023
Is the webinar too long / too short?
What else should be added?
What should be removed?
Any general comments