## Slide 1: NCC 101 Training
Mark Davis
September 2023

## Slide 2: 1. ABCB 2. IGA 3. ABCB structure 4. Hierarchy of building regulations 5. What the IGA says about the NCC 6. NCC structure 7. Consistent Volume Structure 8. Compliance pathways 9. Building classifications 10. NCC development cycle 11. Commercial energy efficiency provisions 12. Residential energy efficiency provisions
Contents:

## Slide 3: Australian Building Codes Board (ABCB)
Established mid-1990s
Nationally consistent technical building regulations
States and Territories (S&Ts) are responsible for:
  Compliance and enforcement
  Licensing and accreditation
  Building approvals
Economic benefit
  National consistency
  Performance-based regulations
  Confirmed by CIE report

## Slide 4: Inter-Governmental Agreement (IGA)
S&T funding proportional to level of building activity
  Commonwealth provides 50%
  Special account
Board
  Responsible for developing and maintaining the NCC
Building Ministers’ Meeting (BMM)
  Set strategic policy direction
  Approve ABCB annual business plan
IGA is updated every thee years

## Slide 5: ABCB structure
BMM
Board
Office
Project-specific Technical Reference Groups (TRGs)
Project-specific Board Steering Committees
Building Codes Committee (BCC)
Plumbing Code Committee (PCC)
Direction
More regular direction
18 Board members:
1 independent chair
8 S & T govts
1 Commonwealth
1 Local govt
7 Industry
BCC:
25 members
2 observers
Industry reps include:
HIA
MBA
PCA
AFAC
AIA
BPIC
AIG
AIRAH
PCC:
21 members
1 observer
Direction
Technical advice

## Slide 6: Hierarchy of building regulations
National Construction Code
ncc.abcb.gov.au
State/Territory
Building Acts and Regulations
Referenced documents & Software
Including Australian Standards, NABERS, NatHERS
Administrative matters
Approvals, licensing, etc
    Australian Constitution
    Note, Commonwealth does not have power in this area

## Slide 7: What the IGA says about the NCC
Performance-based
Minimum necessary regulation to achieve society’s expectations
Covers new work on both new and existing buildings
  S&Ts determine applicability to existing buildings (e.g. 50% rule)
Covers design, construction, performance and livability
  Not occupation and ongoing operation
3-yearly amendment cycle
Grounds for S&T variations
  Reported to BMM
Focus on occupants, NOT property protection
NCC objectives:
  Safety and health
  Amenity and accessibility
  Sustainability

## Slide 8: NCC structure
Volume One
(Class 2-9 Buildings)
Volume Two
(Class 1 & 10)
Housing Provisions
(detailed DTS)
Volume Three
(Class 1 -10)
Building Code of Australia (BCA)
Plumbing Code of Australia (PCA)
National Construction Code

## Slide 9: Consistent Volume Structure (CVS)
Governing requirements
  How to use the NCC
Technical Requirements
  Objectives
  Functional statements
  Performance Requirements
  Verification Methods
  Deemed-to-Satisfy (DTS) Provisions
    Prescriptive ‘recipe book’
Definitions
Referenced documents
S&T variations

## Slide 10: Compliance Pathways
ASSESSMENT METHODS
PERFORMANCE REQUIREMENTS
PERFORMANCE SOLUTION
DTS
SOLUTION
Documentary Evidence
Verification Method
Expert Judgement
Comparison to DTS
AND/ OR

## Slide 11: Building classifications
Class 1:
  1a Detached house or townhouse with fire wall
  1b Small boarding house
Class 2: Apartment
Class 3: Hotel, student accommodation
Class 4: Sole-occupancy unit (SOU) within another classification
Class 5: Office
Class 6: Retail
Class 7:
  7a Carpark
  7b Warehouse
Class 8: Laboratory, factory
Class 9:
  9a Hospital
  9b Auditorium
  9c Aged care
Class 10:
  10a Carport
  10b Mast, antenna
  10c Bushfire shelter

## Slide 12: NCC Amendment Cycle
PLANNING PHASE
DEVELOPMENT PHASE
FINALISATION PHASE
Business plan approved (mid-2022)
Project management brief developed
Resources established
Sub-committees formed (i.e. Board Steering Committee, Technical Reference Group)
External experts procured
Research and modelling undertaken
Public comment draft (PCD) produced
Consultation impact assessment produced
Public consultation undertaken (April/ May 2024)
NCC provisions and impact assessment finalised
Board and BMM approvals obtained
Publish new NCC edition (early 2015)
Roadshow and webinars
New edition adopted (1 May 2025 with possible transitional period)

## Slide 13: Commercial Energy Efficiency Provisions
Objectives

## Slide 14: Commercial Energy Efficiency Provisions
Functional Statement

## Slide 15: Commercial Energy Efficiency Provisions
Performance Requirements
  JPI Energy Use

## Slide 16: Commercial Energy Efficiency Provisions
Verification Methods
  J1V1 NABERS
  J1V2 Greenstar
  J1V3 Reference building VM
  J1V34 Sealing

## Slide 17: Commercial Energy Efficiency Provisions
DTS
  Part J2 Application
  Part J4 Fabric
  Part J5 Sealing
  Part J6 Air-conditioning & ventilation
  Part J7 Artificial lighting & power
  Part J8 Heated Water
  Part J9 Energy monitoring & on-site distributed
    energy resources

## Slide 18: Residential Energy Efficiency Provisions
Objective (guidance)
Functional Statement (guidance)

## Slide 19: Residential Energy Efficiency Provisions
Performance Requirements (mandatory)
  Thermal Comfort
  Whole-of-home

## Slide 20: Residential Energy Efficiency Provisions
PERFORMANCE REQUIREMENTS
PERFORMANCE SOLUTION
DTS
SOLUTION
Verification using a reference building (VURB)
Verification of building envelope sealing
AND/ OR
Compliance Pathways
NatHERS
DTS elemental provisions

## Slide 21: Residential Energy Efficiency Provisions
NatHERS Compliance Pathways
  Specification 42
    7 stars unless outdoor living area in climate zones 1 and 2
    Heating and cooling load limits
    Whole of home rating ≥ 60
    Additional DTS elemental provisions (ABCB Housing Provisions):
      Insulation
      Thermal breaks
      Compensating for loss of ceiling insulation
      Floor edge insulation
      Sealing

## Slide 22: Residential Energy Efficiency Provisions
NatHERS Compliance Pathways
  NatHERS certificate
  NatHERS definition

## Slide 23: Residential Energy Efficiency Provisions
NatHERS Supplement
  Minor changes
  Major changes process
    Proposal Stage
    Development stage
    Consultation stage
    Finalisation stage

## Slide 24: Thank you for your time
© Australian Building Codes Board 2022
The National Construction Code can be accessed free online at ncc.abcb.gov.au